Nanobiodevices for Biomedical Applications

Yoshinobu Baba

Department of Applied Chemistry, School of Engineering, FIRST Research Center for Innovative Nanobiodevices, Synchrotron Radiation Research Center, Nagoya University

National Institute of Advanced Industrial Science and Technology (AIST)

Nanobiodevice is a piece of contrivance, equipment, machine, or component, which is created by the overlapping multidisciplinary activities associated with nanotechnology and biotechnology, intended for biological, medical, and clinical purposes.  During the past decade, nanobiodevice has progressively begun to focus on the establishment of main four fields of biomedical applications of nanotechnology, including 1) diagnostic devices, 2) molecular imaging, 3) regenerative medicine, and 4) drug delivery systems.

In this lecture, I will describe the development of nanobiodevices for biomedical applications, including single cancer cell diagnosis for cancer metastasis, circulating tumor cell detection by microfluidic devices, nanopillar devices for ultrafast analysis of genomic DNA and micro RNA, nanopore devices for single DNA and microRNA sequencing, nanowire devices for exosome analysis and so on [1-10]. Euglena-based “biomimetic mechanical system” enables us to develop reliable CTC (circulating tumor cell) separation and detection technique for cancer metastasis diagnosis. Immunopillar devices realized the fast and low invasive “from blood to analysis” type biomarker detection of cancer with fM detection sensitivity within 2 min.  Additionally, nanopillar devices give us ultrafast separation of DNA and microRNA within 100 µs and nanopillar-nanopore integrated nanobiodevice enables us ultarafast single molecular DNA sequencing (Fig. 1).  Quantum dots are applied to develop nanobiodevice for single cancer cell diagnosis, single molecular epigenetic analysis, in vivo imaging for stem cell therapy and theranostic device for cancer diagnosis/therapy.   Fig. 1 Nanopillar-Nanopore Device

References

- N. Kaji, et al., Chem. Soc. Rev., 39, 948 (2010).

- M. Tabuchi, et al., Nature Biotech., 22, 337 (2004).

- R. Bakalova, et al., Nature Biotech., 22, 1360 (2004).

- Y.S. Park, et al., ACS Nano., 4, 121 (2010).

- M. F. Serag, et al., ACS Nano., 5, 493, (2011).

- T. Yasui, et al., ACS Nano, 5, 7775 (2011).

- M.F. Serag, et al., ACS Nano, 5, 9264 (2011).

- M.F. Serag, et al., Nano Lett., 12, 6145 (2012).

- T. Yasui, et al., ACS Nano, in press (2013).

- K. Hirano, et al., Nano Lett., in press (2013).